## NTCP_Parameter_Bank
Record ID | Model Family | Year / Period | Organ / Structure | Precise Endpoint | Endpoint Timing / Grade | Volume / Dose Metric | n | m | TD50 | TD50 Unit / Dose Reference | Alpha/Beta (Gy) | Cohort / Modality | Sample Size | Evidence Type | Source ID | Authors | Title | Journal | DOI / Link | Verification Status | Applicability / Compatibility Notes
C19 | LKB | 2015–present ¦ 2024 | Left ventricle | MACE after left breast RT |  | According to the paper | 0.78 | 0.59 | 43.3 | Gy EQD2 | 3 | Left breast; 1100 patients; median follow-up 7.8 years | 1100 | Primary OA study; generalized Lyman modified | REF36 | Lai TY, Hu YW, Wang TH, et al | Estimating the risk of MACE after left breast RT using a modified generalized Lyman NTCP model | Breast | https://doi.org/10.1016/j.breast.2024.103788 | Verified; distinct endpoint (not a direct replacement) | The full model requires covariates and the time-to-event distribution; three parameters are not reproduced by BioSuite. ¦ Decision: record as reference; direct entry prohibited ¦ α/β status: explicit; EQD2 with α/β=3
B28 | LKB | Historical (1991) ¦ 1991 | Thyroid (Thyroid) | Clinical thyroiditis |  | Whole organ | 0.22 | 0.26 | 80 | Physical Gy; according to Burman table | Not reported | Historical tolerance data / Burman table |  | Historical LKB fit | REF01 | Burman C, Kutcher GJ, Emami B, Goitein M | Fitting of normal tissue tolerance data to an analytic function | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/0360-3016(91)90172-Z | Verified; unique parameter set in current bank | Historical parameter; to replace with new studies, endpoint and dose reference must be matched.
C07 | LKB | 2015–Present ¦ 2015 | Cochlea | Tinnitus LENT-SOMA grade ≥2 | grade ≥2 | According to the paper | 1.00 (constant) | 0.35 | 46.52 | Physical Gy; mean dose | Not reported | Head-and-neck IMRT; 422 ears | 422 | Primary study OA; mean-dose LKB | REF22 | Lee TF, Yeh SA, Chao PJ, et al | NTCP modeling for cochlea constraints to avoid tinnitus after H&N IMRT | Radiat Oncol | https://doi.org/10.1186/s13014-015-0501-x | Verified; distinct endpoint (not a direct replacement) | Fractionation conversion not defined in the source; for 1.6–2.12 Gy/fx and mean cochlear dose. ¦ Decision: new organ/endpoint ¦ α/β status: fit with n=1 fixed and mean cochlear dose
P15 | LKB | 2000–2015 ¦ 2009 | Larynx | Edema subacute/late G2–G3 with fiberoptic exam | G2–G3 with fiberoptic exam | According to the paper | 1.17 | 0.23 | 47.3 | Gy EQD2 | 3 | 48 H&N patients; minimum FU=15 months |  | Primary study | REF12 | Rancati T, Fiorino C, Sanguineti G | NTCP modeling of subacute/late laryngeal edema scored by fiberoptic examination | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/j.ijrobp.2009.04.087 | Verified; alternative/partial-overlap parameter set | It is close to historical laryngeal edema, but grade and dose reference are different; the DVH in the paper was converted to EQD2. ¦ Decision: endpoint-specific update
B14 | LKB | Historical (1991) ¦ 1991 | Larynx (Larynx) | Laryngeal edema |  | Whole organ | 0.08 | 0.17 | 70 | Physical Gy; according to Burman table | Not reported | Historical tolerance data / Burman table |  | Historical LKB fit | REF01 | Burman C, Kutcher GJ, Emami B, Goitein M | Fitting of normal tissue tolerance data to an analytic function | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/0360-3016(91)90172-Z | Verified; alternative/partial-overlap parameter set | Historical parameter; to replace with new studies, endpoint and dose reference must be matched.
B13 | LKB | Historical (1991) ¦ 1991 | Larynx (Larynx) | Cartilage necrosis |  | Whole organ | 0.11 | 0.075 | 80 | Physical Gy; according to Burman table | Not reported | Historical tolerance data / Burman table |  | Historical LKB fit | REF01 | Burman C, Kutcher GJ, Emami B, Goitein M | Fitting of normal tissue tolerance data to an analytic function | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/0360-3016(91)90172-Z | Verified; distinct endpoint (not a direct replacement) | Historical parameter; to replace with new studies, endpoint and dose reference must be matched.
B05 | LKB | Historical (1991) ¦ 1991 | Cauda equina (Cauda equina) | Clinically apparent nerve injury |  | Whole organ | 0.03 | 0.12 | 75 | Physical Gy; according to Burman table | Not reported | Historical tolerance data / Burman table |  | Historical LKB fit | REF01 | Burman C, Kutcher GJ, Emami B, Goitein M | Fitting of normal tissue tolerance data to an analytic function | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/0360-3016(91)90172-Z | Verified; unique parameter set in current bank | Historical parameter; to replace with new studies, endpoint and dose reference must be matched.
Q05 | LKB | 2000–2015/reanalysis 2017 ¦ 2017 | Duodenum | Toxicity G≥3 (ulceration/bleeding/obstruction) | G≥3 (ulceration/bleeding/obstruction) | Whole organ | 0.12 (0.09–0.30) | 0.49 (0.36–0.61) | 180 | Gy; very large uncertainty (~100 to >200) | Not reported | legacy Pan data; reanalyzed in source 2017 |  | LKB legacy fit | REF25 | Pan CC et al | 12-month toxicity data, as reported in the input file and the Appelt/Holyoake 2017 reanalysis. |  | https://doi.org/10.1016/j.radonc.2017.04.024 | Verified; alternative/partial-overlap parameter set | TD50 is listed as very uncertain in the input file; does not have full overlap with C01 due to different dose reference/data.
C01 | LKB | 2015–present ¦ 2017 | Duodenum | Gastrointestinal toxicity grade ≥3 | grade ≥3 | According to the paper | 0.193 | 0.51 | 299.1 | Gy in EQD25 | 4 | Abdominal malignancies; aggregate data + individual patient data; 531 patients | 531 | Systematic review + IPD; LKB | REF24 | Holyoake DLP, Aznar M, Mukherjee S, Partridge M, Hawkins MA | Modelling duodenum radiotherapy toxicity using cohort dose-volume-histogram data | Radiother Oncol | https://doi.org/10.1016/j.radonc.2017.04.024 | Verified; alternative/partial-overlap parameter set | DuoLKB4. Differs from the classical TD50 Pan=180 Gy; the dose reference EQD25 must be matched exactly to BioSuite. ¦ Decision: conditional alternative/new option ¦ α/β status: explicit; converted to EQD25 with α/β=4
P10 | LKB | 2000–2015 ¦ 2006 | Anorectal wall | high stool frequency |  | According to the paper | 0.39 | 0.24 | 84 | Gy (physical); 2 Gy/fx | Not reported | 468 prostate patients; 3D-CRT |  | Primary study; QUANTEC table | REF06 | Peeters STH, Hoogeman MS, Heemsbergen WD, Hart AAM, Koper PCM, Lebesque JV | Rectal bleeding, fecal incontinence, and high stool frequency after conformal radiotherapy for prostate cancer: Normal tissue complication probability modeling | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/j.ijrobp.2006.03.034 | Verified; distinct endpoint (not a direct replacement) | Functional endpoint separate from bleeding; structure: anorectal wall. ¦ Decision: new endpoint ¦ Corrected 2026 audit: original file cited the companion paper 'Localized volume effects for late rectal and anal toxicity...' (IJROBP 64:1151-1161), which reports dose-volume threshold correlates, not LKB n/m/TD50 fits. The n/m/TD50 values themselves were verified correct (e.g. bleeding TD50=81, m=0.14, n=0.13 confirmed via independent citations) but are drawn from this companion 2006 NTCP-modeling paper, same RT01 patient cohort, now corrected here.
P09 | LKB | 2000–2015 ¦ 2006 | Anorectal wall | Late bleeding |  | According to the paper | 0.13 | 0.14 | 81 | Gy (physical); 2 Gy/fx | Not reported | 468 prostate patients; 3D-CRT |  | Primary study; QUANTEC table | REF06 | Peeters STH, Hoogeman MS, Heemsbergen WD, Hart AAM, Koper PCM, Lebesque JV | Rectal bleeding, fecal incontinence, and high stool frequency after conformal radiotherapy for prostate cancer: Normal tissue complication probability modeling | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/j.ijrobp.2006.03.034 | Verified; alternative/partial-overlap parameter set | Structure: anorectal wall, not rectum, as solid. ¦ Decision: new endpoint/structure ¦ Corrected 2026 audit: original file cited the companion paper 'Localized volume effects for late rectal and anal toxicity...' (IJROBP 64:1151-1161), which reports dose-volume threshold correlates, not LKB n/m/TD50 fits. The n/m/TD50 values themselves were verified correct (e.g. bleeding TD50=81, m=0.14, n=0.13 confirmed via independent citations) but are drawn from this companion 2006 NTCP-modeling paper, same RT01 patient cohort, now corrected here.
P11 | LKB | 2000–2015 ¦ 2006 | Anal canal wall | Fecal incontinence |  | According to the paper | 0.12 | 0.46 | 105 | Gy (physical); 2 Gy/fx | Not reported | 468 prostate patients; 3D-CRT |  | Primary study; QUANTEC table | REF06 | Peeters STH, Hoogeman MS, Heemsbergen WD, Hart AAM, Koper PCM, Lebesque JV | Rectal bleeding, fecal incontinence, and high stool frequency after conformal radiotherapy for prostate cancer: Normal tissue complication probability modeling | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/j.ijrobp.2006.03.034 | Verified; distinct endpoint (not a direct replacement) | n is large; the anal wall structure and endpoint definition must be matched exactly. ¦ Decision: new endpoint/structure ¦ Corrected 2026 audit: original file cited the companion paper 'Localized volume effects for late rectal and anal toxicity...' (IJROBP 64:1151-1161), which reports dose-volume threshold correlates, not LKB n/m/TD50 fits. The n/m/TD50 values themselves were verified correct (e.g. bleeding TD50=81, m=0.14, n=0.13 confirmed via independent citations) but are drawn from this companion 2006 NTCP-modeling paper, same RT01 patient cohort, now corrected here.
C17 | LKB | 2015–Present ¦ 2021 | Small intestine | Diarrhea G1–2 | G1–2 | According to the paper | 0.15 | 0.79 | 55.0 | Gy (physical); 2 Gy/fx | Not reported | RT for gastric marginal zone lymphoma (MZL); 18 patients | 18 | Primary study OA; small cohort | REF31 | Reinartz G, Baehr A, Kittel C, et al | Biophysical Analysis of Acute and Late Toxicity in Gastric Marginal Zone Lymphoma | Cancers | https://doi.org/10.3390/cancers13061390 | Verified; distinct endpoint (not a direct replacement) | Differs from historical severe obstruction/perforation; small single-center evidence. ¦ Decision: new, investigational endpoint ¦ α/β status: fit 2 Gy/fx; α/β not reported
B25 | LKB | Historical (1991) ¦ 1991 | Small intestine (Small intestine) | Obstruction/perforation |  | Whole organ | 0.15 | 0.16 | 55 | Physical Gy; according to Burman table | Not reported | Historical tolerance data / Burman table |  | Historical LKB fit | REF01 | Burman C, Kutcher GJ, Emami B, Goitein M | Fitting of normal tissue tolerance data to an analytic function | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/0360-3016(91)90172-Z | Verified; distinct endpoint (not a direct replacement) | Historical parameter; to replace with new studies, endpoint and dose reference must be matched.
P13 | LKB | 2000–2015 ¦ 2012 | Rectum | Bleeding G2 | G2 | According to the paper | 0.13 | 0.15 | 68.5 | Gy physical; conventional fractionation | Not reported | RT01; 388 patients; 64 or 74 Gy | 388 | Primary study: free article | REF18 | Gulliford SL, Partridge M, Sydes MR, et al | Parameters for the Lyman Kutcher Burman model of NTCP for specific rectal complications observed in clinical practice | Radiother Oncol | https://doi.org/10.1016/j.radonc.2011.10.022 | Verified; alternative/partial-overlap parameter set | Only this row with three explicit values in the abstract could be entered; grading RT01. ¦ Decision: endpoint-specific option
C13 | LKB | 2015–Present ¦ 2021 | Rectum | Late bleeding GR2A+2B |  | According to the paper | 0.10 | 0.16 | 73.6 | Gy(RBE=1.1) | Not reported | PSPT prostate; 1047 patients | 1047 | Primary OA study; prospective scoring | REF30 | Pedersen J, Liang X, Bryant C, et al | LKB models for prospectively scored late rectal and urinary morbidity after proton therapy of prostate cancer | Phys Imaging Radiat Oncol | https://doi.org/10.1016/j.phro.2021.10.004 | Verified; alternative/partial-overlap parameter set | Structure-model «whole rectum»; for Proton passive scattering and endpoint: exact source. ¦ Decision: protons only ¦ α/β status: 2 Gy(RBE)/fx; α/β not reported
C11 | LKB | 2015–present ¦ 2022 | Rectum | Late GI toxicity grade ≥2 | grade ≥2 | According to the paper | 0.02 | 0.07 | 77.9 | Gy; cumulative dose DVH | Not reported | VMAT high-risk prostate + pelvis; 150 patients; cumulative dose | 150 | Main study OA; internal bootstrap | REF32 | Ong ALK, Knight K, Panettieri V, et al | Predictive modelling for late rectal and urinary toxicities after prostate radiotherapy using planned and delivered dose | Front Oncol | https://doi.org/10.3389/fonc.2022.1084311 | Verified; distinct endpoint (not a direct replacement) | Endpoint GI is composite, not solely bleeding; cumulative-dose DVH must be available. ¦ Decision: conditional update option ¦ α/β status: at 2 Gy/fx; α/β for the fit not reported
B21 | LKB | Historical (1991) ¦ 1991 | Rectum (Rectum) | Severe proctitis/necrosis/stenosis/fistula |  | Whole organ | 0.12 | 0.15 | 80 | Physical Gy; according to Burman table | Not reported | Historical tolerance data / Burman table |  | Historical LKB fit | REF01 | Burman C, Kutcher GJ, Emami B, Goitein M | Fitting of normal tissue tolerance data to an analytic function | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/0360-3016(91)90172-Z | Verified; distinct endpoint (not a direct replacement) | Historical parameter; to replace with new studies, endpoint and dose reference must be matched.
P04 | LKB | 2000–2015 ¦ 2010 | Rectum (solid rectum + contents) | Late toxicity G≥2 / rectal bleeding | G≥2 / rectal bleeding | According to the paper | 0.09 | 0.13 | 76.9 | Physical Gy; reference series 1.8–2 Gy/fx | 3 | Four prostate 3D-CRT series; QUANTEC |  | QUANTEC review/meta-analysis | REF15 | Michalski JM, Gay H, Jackson A, Tucker SL, Deasy JO | Radiation Dose–Volume Effects in Radiation-Induced Rectal Injury | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/j.ijrobp.2009.03.078 | Verified; alternative/partial-overlap parameter set | For hypofractionation, QUANTEC recommends α/β=3 for DVH conversion. ¦ Decision: update reference
P07 | LKB | 2000–2015 ¦ 2004 | Rectum + contents | Bleeding G≥2; cohort intact only | G≥2 | According to the paper | 0.24 | 0.14 | 75.7 | Gy physical; 1.8–2 Gy/fx | Not reported | 321 prostate patients; 3D-CRT |  | Primary study; QUANTEC table | REF04 | Rancati T, Fiorino C, Gagliardi G, et al | Fitting late rectal bleeding data using different NTCP models | Radiother Oncol | https://pubmed.ncbi.nlm.nih.gov/15465142/ | Verified; alternative/partial-overlap parameter set | Probability up to 1.5 years; endpoint and timing differ from QUANTEC pooled. ¦ Decision: conditional option
P08 | LKB | 2000–2015 ¦ 2004 | Rectum + contents | Bleeding G≥2; intact + post-prostatectomy | G≥2 | According to the paper | 0.23 | 0.19 | 81.9 | Gy physical; 1.8–2 Gy/fx | Not reported | 547 patients; 3D-CRT | 547 | Primary study; QUANTEC table | REF04 | Rancati T, Fiorino C, Gagliardi G, et al | Fitting late rectal bleeding data using different NTCP models | Radiother Oncol | https://pubmed.ncbi.nlm.nih.gov/15465142/ | Verified; alternative/partial-overlap parameter set | Probability up to 1.5 years; composite cohort. ¦ Decision: conditional option
P06 | LKB | 2000–2015 ¦ 2007 | Rectum + contents | Chronic bleeding CTCAE v3 G≥2 | G≥2 | According to the paper | 0.084 | 0.108 | 78.4 | Physical Gy; 1.8 Gy/fx | Not reported | 319 prostate patients; 4-field 3D-CRT |  | Primary study; QUANTEC table | REF09 | Söhn M, Yan D, Liang J, Meldolesi E, Vargas C, Alber M | Incidence of late rectal bleeding in high-dose conformal radiotherapy of prostate cancer using equivalent uniform dose-based and dose-volume-based NTCP models | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/j.ijrobp.2006.10.014 | Verified; alternative/partial-overlap parameter set | n=1/a (a=11.9) is valid only for Lyman-EUD of the same article. ¦ Decision: conditional option
P12 | LKB | 2000–2015 ¦ 2010 | Rectum + contents | Late toxicity RTOG G≥2 | G≥2 | According to the paper | 0.077 | 0.146 | 79.1 | Gy (physical); 1.8 or 2 Gy/fx | Not reported | RTOG 94-06; 1010 patients; 3D-CRT | 1010 | Primary study OA | REF16 | Tucker SL, Dong L, Bosch WR, et al | Late rectal toxicity on RTOG 94-06: analysis using a mixture Lyman model | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/j.ijrobp.2010.01.069 | Verified; distinct endpoint (not a direct replacement) | The parameters are the incidence component in a mixture-Lyman; the paper models latency and the effect of CVD. ¦ Decision: register as witness; direct entry prohibited
P21 | LKB | 2000–2015 ¦ 2008 | Lung | Severe pneumonitis G≥3 | G≥3 | According to the paper | 0.57 | 0.43 | 54.1 | Gy (physical); smokers | Not reported | 576 patients with NSCLC; 3D-CRT/IMRT | 576 | Primary study OA | REF11 | Tucker SL, Liu HH, Liao Z, et al | Analysis of radiation pneumonitis risk using a generalized Lyman model | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/j.ijrobp.2008.04.053 | Verified; alternative/partial-overlap parameter set | generalized Lyman: TD50 changes with smoking-status and the model is time-to-event. Three inputs alone are not sufficient for full reproduction. ¦ Decision: record as witness; direct entry prohibited
Q01 | LKB | 2000–2015 ¦ 2010 | Lung | Symptomatic pneumonitis |  | Whole organ; mean-dose model | ≈1 (1.03±0.17) | γ50=0.97 (not m-classic) | 30.75 | Physical Gy; logistic form | Not reported | QUANTEC lung studies |  | QUANTEC review; logistic form | REF14 | Marks LB, Bentzen SM, Deasy JO, et al | Radiation Dose–Volume Effects in the Lung | Int J Radiat Oncol Biol Phys | URL not recorded in the input file | Verified; alternative/partial-overlap parameter set | m-classic LKB not reported; kept for information/comparison only.
B17 | LKB | Historical (1991) ¦ 1991 | Lung (Lung) | Pneumonitis |  | Whole organ | 0.87 | 0.18 | 24.5 | Physical Gy; according to Burman table | Not reported | Historical tolerance data / Burman table |  | Historical LKB fit | REF01 | Burman C, Kutcher GJ, Emami B, Goitein M | Fitting of normal tissue tolerance data to an analytic function | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/0360-3016(91)90172-Z | Verified; alternative/partial-overlap parameter set | Historical parameter; to replace with new studies, endpoint and dose reference must be matched.
C08 | LKB | 2015–present ¦ 2016 | Ipsilateral lung | RILI predominantly G1–2 | G1–2 | According to the paper | 0.912 | 0.437 | 17.211 | Gy (physical); 2 Gy/fx | Not reported | Postoperative breast IMRT; 109 patients | 109 | Main OA study; prospective | REF23 | Zhou ZR, Han Q, Liang SX, et al | Lyman NTCP analysis for radiation-induced lung injury in postoperative breast IMRT | Oncotarget | https://doi.org/10.18632/oncotarget.12979 | Verified; alternative/partial-overlap parameter set | Differs from lung pneumonitis in NSCLC/whole lung or Burman sheet; ipsilateral lung dose. ¦ Decision: not a general substitute ¦ α/β status: fitted at 2 Gy fraction; α/β not reported
P02 | LKB | 2000–2015 ¦ 2008 | Ipsilateral lung | Pneumonitis |  | According to the paper | 1 (fixed) | 0.35 | 37.6 | Gy equivalent to 2 Gy/fx (EQD2) | 3 | Pooled analysis of published datasets |  | Meta-analysis | REF10 | Semenenko VA, Li XA | Lyman–Kutcher–Burman NTCP model parameters for radiation pneumonitis and xerostomia based on combined analysis of published clinical data | Phys Med Biol | https://doi.org/10.1088/0031-9155/53/3/014 | Verified; alternative/partial-overlap parameter set | Differs from P01 in structure definition; ipsilateral lung. ¦ Decision: aggregation option
B04 | LKB | Historical (1991) ¦ 1991 | Brain stem (Brain stem) | Necrosis/Infarction |  | Whole organ | 0.16 | 0.14 | 65 | Physical Gy; according to Burman table | Not reported | Historical tolerance data / Burman table |  | Historical LKB fit | REF01 | Burman C, Kutcher GJ, Emami B, Goitein M | Fitting of normal tissue tolerance data to an analytic function | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/0360-3016(91)90172-z | Verified; unique parameter set in current bank | Historical parameter; to replace with new studies, endpoint and dose reference must be matched.
B10 | LKB | Historical (1991) ¦ 1991 | Femoral head & neck (Femoral head & neck) | Necrosis |  | Whole organ | 0.25 | 0.12 | 65 | Physical Gy; according to Burman table | Not reported | Historical tolerance data / Burman table |  | Historical LKB fit | REF01 | Burman C, Kutcher GJ, Emami B, Goitein M | Fitting of normal tissue tolerance data to an analytic function | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/0360-3016(91)90172-Z | Verified; unique parameter set in current bank | Historical parameter; to replace with new studies, endpoint and dose reference must be matched.
B02 | LKB | Historical (1991) ¦ 1991 | Brachial plexus (Brachial plexus) | Clinically apparent nerve injury |  | Whole organ | 0.03 | 0.12 | 75 | Physical Gy; according to Burman table | Not reported | Historical tolerance data / Burman table |  | Historical LKB fit | REF01 | Burman C, Kutcher GJ, Emami B, Goitein M | Fitting of normal tissue tolerance data to an analytic function | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/0360-3016(91)90172-Z | Verified; unique parameter set in current bank | Historical parameter; to replace with new studies, endpoint and dose reference must be matched.
B22 | LKB | Historical (1991) ¦ 1991 | Retina (Retina) | Blindness |  | Whole organ | 0.2 | 0.19 | 65 | Physical Gy; according to Burman table | Not reported | Historical tolerance data / Burman table |  | Historical LKB fit | REF01 | Burman C, Kutcher GJ, Emami B, Goitein M | Fitting of normal tissue tolerance data to an analytic function | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/0360-3016(91)90172-Z | Verified; unique parameter set in current bank | Historical parameter; to replace with new studies, endpoint and dose reference must be matched.
C18 | LKB | 2015–Present ¦ 2021 | Spleen | Thrombocytopenia |  | According to the paper | 0.50 | 0.85 | 35.0 | Gy (physical); 2 Gy/fx | Not reported | RT for gastric marginal zone lymphoma (MZL); 18 patients | 18 | Primary study OA; small cohort | REF31 | Reinartz G, Baehr A, Kittel C, et al | Biophysical Analysis of Acute and Late Toxicity in Gastric Marginal Zone Lymphoma | Cancers | https://doi.org/10.3390/cancers13061390 | Verified; unique parameter set in current bank | Low-volume, low-grade model; for research/validation use. ¦ Decision: New organ/endpoint, research ¦ α/β status: fitted 2 Gy/fx; α/β not reported
B15 | LKB | Historical (1991) ¦ 1991 | Lens (Lens) | Cataract requiring surgical intervention |  | Whole organ | 0.3 | 0.27 | 18 | Physical Gy; according to Burman table | Not reported | Historical tolerance data / Burman table |  | Historical LKB fit | REF01 | Burman C, Kutcher GJ, Emami B, Goitein M | Fitting of normal tissue tolerance data to an analytic function | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/0360-3016(91)90172-Z | Verified; distinct endpoint (not a direct replacement) | Historical parameter; to replace with new studies, endpoint and dose reference must be matched.
B18 | LKB | Historical (1991) ¦ 1991 | Optic nerve (Optic nerve) | Blindness |  | Whole organ | 0.25 | 0.14 | 65 | Physical Gy; according to Burman table | Not reported | Historical tolerance data / Burman table |  | Historical LKB fit | REF01 | Burman C, Kutcher GJ, Emami B, Goitein M | Fitting of normal tissue tolerance data to an analytic function | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/0360-3016(91)90172-Z | Verified; unique parameter set in current bank | Historical parameter; to replace with new studies, endpoint and dose reference must be matched.
C06 | LKB | 2015–Present ¦ 2021 | Lacrimal gland | Dry eye; increase ≥2 SESoD in 1 month |  | According to the paper | 1.00 | 0.74 | 53.5 | Gy EQD2 | 3 | WBRT; 54 patients | 54 | Primary OA study; LKB | REF29 | Mavroidis P, Pearlstein KA, Moon DH, et al | NTCP modeling and dose–volume correlations for acute xerostomia and dry eye after whole brain radiation | Radiat Oncol | https://doi.org/10.1186/s13014-021-01786-6 | Verified; distinct endpoint (not a direct replacement) | Bilateral lacrimal gland structure; for WBRT and patient-reported dry-eye, not classical visual toxicities. ¦ Decision: new organ/endpoint ¦ α/β status: explicit; convert to EQD2 with α/β=3
B20 | LKB | Historical (1991) ¦ 1991 | Parotid gland (Parotid) | Xerostomia |  | Whole organ | 0.7 | 0.18 | 46 | Physical Gy; according to Burman table | Not reported | Historical tolerance data / Burman table |  | Historical LKB fit | REF01 | Burman C, Kutcher GJ, Emami B, Goitein M | Fitting of normal tissue tolerance data to an analytic function | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/0360-3016(91)90172-Z | Verified; distinct endpoint (not a direct replacement) | Historical parameter; to replace with new studies, endpoint and dose reference must be matched.
B23 | LKB | Historical (1991) ¦ 1991 | Rib cage (Rib cage) | Pathologic fracture |  | Whole organ | 0.1 | 0.21 | 68 | Physical Gy; according to Burman table | Not reported | Historical tolerance data / Burman table |  | Historical LKB fit | REF01 | Burman C, Kutcher GJ, Emami B, Goitein M | Fitting of normal tissue tolerance data to an analytic function | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/0360-3016(91)90172-Z | Verified; unique parameter set in current bank | Historical parameter; to replace with new studies, endpoint and dose reference must be matched.
P18 | LKB | 2000–2015 ¦ 2014 | Heart | Radiation-induced valvular dysfunction |  | According to the paper | 0.16 | 0.67 | 32.8 | Gy EQD2/NTD2 | 3 | 90 Hodgkin survivors; 3D-CRT |  | Primary study OA | REF20 | Cella L, Palma G, Deasy JO, et al | Complication probability models for radiation-induced heart valvular dysfunction: do heart-lung interactions play a role? PLoS One | 2014;9:e111753. | https://doi.org/10.1371/journal.pone.0111753 | Verified; distinct endpoint (not a direct replacement) | LKB heart AUC=0.67; the multivariable heart/lung model was better, therefore do not base an individual decision solely on this model. ¦ Decision: new organ/endpoint
B11 | LKB | Historical (1991) ¦ 1991 | Heart (Heart) | Pericarditis |  | Whole organ | 0.35 | 0.1 | 48 | Physical Gy; according to Burman table | Not reported | Historical tolerance data / Burman table |  | Historical LKB fit | REF01 | Burman C, Kutcher GJ, Emami B, Goitein M | Fitting of normal tissue tolerance data to an analytic function | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/0360-3016(91)90172-Z | Verified; distinct endpoint (not a direct replacement) | Historical parameter; to replace with new studies, endpoint and dose reference must be matched.
C10 | LKB | 2015–Present ¦ 2021 | Heart/Pericardium | Symptomatic pericardial effusion (G≥3) | G≥3) | According to the paper | 0.36 | 0.19 | 57.7 | Gy (physical) | Not reported | Esophageal CRT; 229 patients | 229 | Primary study OA; LKB and internal validation | REF28 | Fukada J, Fukata K, Koike N, et al | Mean heart dose-based NTCP model for pericardial effusion in oesophageal cancer | Sci Rep | https://doi.org/10.1038/s41598-021-97605-9 | Verified; alternative/partial-overlap parameter set | AUC=0.802 in the primary report; keep PCE for each grade separately. ¦ Decision: new endpoint ¦ α/β status: fraction size 1.8 or 2 Gy; no LQ conversion
C09 | LKB | 2015–Present ¦ 2021 | Heart/Pericardium | Pericardial effusion any grade | grade | According to the paper | 0.38 | 0.47 | 41.0 | Gy (physical) | Not reported | Esophageal CRT; 229 patients | 229 | Primary study OA; LKB and internal validation | REF28 | Fukada J, Fukata K, Koike N, et al | Mean heart dose-based NTCP model for pericardial effusion in oesophageal cancer | Sci Rep | https://doi.org/10.1038/s41598-021-97605-9 | Verified; alternative/partial-overlap parameter set | Different from historical pericarditis; the heart is contoured as the volume inside the pericardium. ¦ Decision: new endpoint ¦ α/β status: fraction 1.8 or 2 Gy; no LQ conversion
C14 | LKB | 2015–Present ¦ 2021 | Bladder | Late GU toxicity CTCAE G≥3 | G≥3 | According to the paper | 0.20 | 0.32 | 119.9 | Gy(RBE=1.1) | Not reported | PSPT prostate; 1151 patients | 1151 | Primary OA study; prospective scoring | REF30 | Pedersen J, Liang X, Bryant C, et al | LKB models for prospectively scored late rectal and urinary morbidity after proton therapy of prostate cancer | Phys Imaging Radiat Oncol | https://doi.org/10.1016/j.phro.2021.10.004 | Verified; alternative/partial-overlap parameter set | AUC≈0.60; endpoint is combined GU and bootstrap uncertainty is large. ¦ Decision: proton only ¦ α/β status: 2 Gy(RBE)/fx; α/β not reported
C12 | LKB | 2015–present ¦ 2022 | Bladder | Late GU toxicity grade ≥2 | grade ≥2 | According to the paper | 0.12 | 0.24 | 81.7 | Gy; cumulative dose DVH | Not reported | VMAT high-risk prostate + pelvis; 150 patients; cumulative dose | 150 | Main study OA; internal bootstrap | REF32 | Ong ALK, Knight K, Panettieri V, et al | Predictive modelling for late rectal and urinary toxicities after prostate radiotherapy using planned and delivered dose | Front Oncol | https://doi.org/10.3389/fonc.2022.1084311 | Verified; alternative/partial-overlap parameter set | The endpoint is composite GU, not historical bladder volume contraction. ¦ Decision: conditional update option ¦ α/β status: at 2 Gy/fx; α/β for the fit not reported
B01 | LKB | Historical (1991) ¦ 1991 | Bladder (Bladder) | Symptomatic bladder contraction and volume reduction |  | Whole organ | 0.5 | 0.11 | 80 | Physical Gy; according to Burman table | Not reported | Historical tolerance data / Burman table |  | Historical LKB fit | REF01 | Burman C, Kutcher GJ, Emami B, Goitein M | Fitting of normal tissue tolerance data to an analytic function | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/0360-3016(91)90172-Z | Verified; distinct endpoint (not a direct replacement) | Historical parameter; to replace with new studies, endpoint and dose reference must be matched.
P05 | LKB | 2000–2015 ¦ 2007 | Bladder (solid bladder) | Late GU toxicity G≥1 up to 2 years | G≥1 up to 2 years | According to the paper | 0.00995 | 0.022 | 77.6 | Gy (physical); 2 Gy/fx | Not reported | 128 prostate patients; 3D-CRT 78 Gy/39 fx |  | Primary study OA | REF08 | Cheung R, Tucker SL, Dong L, et al | Investigation of bladder dose and volume factors influencing late urinary toxicity after external beam radiotherapy for prostate cancer | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/j.ijrobp.2006.10.042 | Verified; alternative/partial-overlap parameter set | In the paper itself the hottest 2.9% bladder was the best model; with bladder volume contraction it is not the same as Burman. ¦ Decision: new/conditional endpoint
P22 | LKB | 2000–2015 ¦ 2005 | Esophagus | Acute esophagitis G≥2 | G≥2 | According to the paper | 0.44 | 0.32 | 51 | Gy (physical) | Not reported | 101 patients with NSCLC; conformal EBRT | 101 | Primary study | REF05 | Chapet O, Kong FM, Lee JS, Hayman JA, Ten Haken RK | Normal tissue complication probability modeling for acute esophagitis in patients treated with conformal radiation therapy for NSCLC | Radiother Oncol | https://doi.org/10.1016/j.radonc.2005.10.001 | Verified; alternative/partial-overlap parameter set | The endpoint is acute and is not the same as the baseline file's late clinical stricture/perforation. ¦ Decision: new endpoint
C02 | LKB | 2015–present ¦ 2020 | Esophagus | Acute esophagitis grade ≥2, ≤6 months | grade ≥2, ≤6 months | According to the paper | 0.24 | 0.51 | 44.83 | Gy(RBE=1.1) | Not reported | NSCLC; proton passive scattering; 328 patients | 328 | Primary OA study; internal validation | REF27 | Wang Z, Chen M, Sun J, et al | LKB NTCP modeling for radiation-induced esophagitis in NSCLC receiving proton radiotherapy | Radiother Oncol | https://doi.org/10.1016/j.radonc.2020.03.003 | Verified; alternative/partial-overlap parameter set | Different from historical esophageal stricture/perforation; model is not generalizable to photons. ¦ Decision: new endpoint; entry only for PSPT ¦ α/β status: fit on dose in Gy(RBE); fraction 1.8–2.5 Gy(RBE)
B09 | LKB | Historical (1991) ¦ 1991 | Esophagus (Esophagus) | Clinical stricture/perforation |  | Whole organ | 0.06 | 0.11 | 68 | Physical Gy; according to Burman table | Not reported | Historical tolerance data / Burman table |  | Historical LKB fit | REF01 | Burman C, Kutcher GJ, Emami B, Goitein M | Fitting of normal tissue tolerance data to an analytic function | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/0360-3016(91)90172-Z | Verified; distinct endpoint (not a direct replacement) | Historical parameter; to replace with new studies, endpoint and dose reference must be matched.
B27 | LKB | Historical (1991) ¦ 1991 | Stomach (Stomach) | Ulceration/Perforation |  | Whole organ | 0.15 | 0.14 | 65 | Physical Gy; according to Burman table | Not reported | Historical tolerance data / Burman table |  | Historical LKB fit | REF01 | Burman C, Kutcher GJ, Emami B, Goitein M | Fitting of normal tissue tolerance data to an analytic function | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/0360-3016(91)90172-Z | Verified; unique parameter set in current bank | Historical parameter; to replace with new studies, endpoint and dose reference must be matched.
B03 | LKB | Historical (1991) ¦ 1991 | Brain (Brain) | Necrosis/Infarction |  | Whole organ | 0.25 | 0.15 | 60 | Physical Gy; according to Burman table | Not reported | Historical tolerance data / Burman table |  | Historical LKB fit | REF01 | Burman C, Kutcher GJ, Emami B, Goitein M | Fitting of normal tissue tolerance data to an analytic function | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/0360-3016(91)90172-Z | Verified; unique parameter set in current bank | Historical parameter; to replace with new studies, endpoint and dose reference must be matched.
P16 | LKB | 2000–2015 ¦ 2012 | Pelvic bone marrow | Acute hematologic toxicity G≥3 | G≥3 | According to the paper | 1 (constrained) | 0.175 | 32 | physical Gy; mean PBM dose | Not reported | 33 patients with anal canal SCC; CRT+IMRT | 33 | Primary study | REF17 | Bazan JG, Luxton G, Mok EC, Koong AC, Chang DT | NTCP modeling of acute hematologic toxicity in patients treated with IMRT for squamous cell carcinoma of the anal canal | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/j.ijrobp.2011.12.072 | Verified; alternative/partial-overlap parameter set | Concurrent chemotherapy and small cohort; n=1 constrained. ¦ Decision: new organ/endpoint
C03 | LKB | 2015–present ¦ 2022 | Pelvic bone marrow (PBM) | Acute hematologic toxicity RTOG ≥2 |  | According to the paper | 0.04 | 0.13 | 38.90 | Cumulative physical Gy | Not reported | CCRT cervix; 232 patients; IMRT/Tomo | 232 | Primary OA study; five-fold validation | REF33 | Wang D, Yin Y, Zhou Q, et al | Dosimetric predictors and Lyman NTCP model of hematological toxicity in cervical cancer treated with pelvic irradiation | Med Phys | https://doi.org/10.1002/mp.15365 | Verified; alternative/partial-overlap parameter set | PBM contour: all pelvic bones from the superior border of the PTV to the proximal end of the femoral head. Concurrent chemotherapy was uniform. ¦ Decision: endpoint/new structure ¦ α/β status: no LQ conversion reported in the fit
B29 | LKB | Historical (1991) ¦ 1991 | Temporomandibular joint and mandible (TM joint & mandible) | Overt limitation of joint function |  | Whole organ | 0.07 | 0.1 | 72 | Physical Gy; according to Burman table | Not reported | Historical tolerance data / Burman table |  | Historical LKB fit | REF01 | Burman C, Kutcher GJ, Emami B, Goitein M | Fitting of normal tissue tolerance data to an analytic function | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/0360-3016(91)90172-Z | Verified; unique parameter set in current bank | Historical parameter; to replace with new studies, endpoint and dose reference must be matched.
B26 | LKB | Historical (1991) ¦ 1991 | Spinal cord (Spinal cord) | Myelitis/necrosis |  | Length 20 cm | 0.05 | 0.175 | 66.5 | Physical Gy; according to Burman table | Not reported | Historical tolerance data / Burman table |  | Historical LKB fit | REF01 | Burman C, Kutcher GJ, Emami B, Goitein M | Fitting of normal tissue tolerance data to an analytic function | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/0360-3016(91)90172-Z | Verified; unique parameter set in current bank | Historical parameter; to replace with new studies, endpoint and dose reference must be matched.
P01 | LKB | 2000–2015 ¦ 2008 | Both lungs | Symptomatic pneumonitis |  | According to the paper | 1 (fixed) | 0.41 | 29.9 | Gy equivalent to 2 Gy/fx (EQD2) | 3 | Pooled analysis of published datasets |  | Meta-analysis | REF10 | Semenenko VA, Li XA | Lyman–Kutcher–Burman NTCP model parameters for radiation pneumonitis and xerostomia based on combined analysis of published clinical data | Phys Med Biol | https://doi.org/10.1088/0031-9155/53/3/014 | Verified; alternative/partial-overlap parameter set | Only if the DVH is converted to EQD2 with α/β=3; paired lung definition. ¦ Decision: cumulative option
P14 | LKB | 2000–2015 ¦ 2010 | Parotid | Stimulated flow <25% of baseline at 1 year |  | According to the paper | 1 (fixed) | 0.4 | 39.9 | Physical Gy; mean parotid dose | Not reported | 384 glands from 222 H&N patients; CRT/IMRT |  | Primary study OA | REF13 | Dijkema T, Raaijmakers CPJ, Ten Haken RK, et al | Parotid gland function after radiotherapy: the combined Michigan and Utrecht experience | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/j.ijrobp.2009.07.1708 | Verified; alternative/partial-overlap parameter set | A simplified model that the authors provided for application. Full-LKB: n=1.13, m=0.42, TD50=39.4 Gy with very wide CI for n. ¦ Decision: endpoint-specific option
P03 | LKB | 2000–2015 ¦ 2008 | Parotid | Stimulated flow reduction <25% at 6 months |  | According to the paper | 1 (fixed) | 0.53 | 31.4 | Gy equivalent to 2 Gy/fx (EQD2) | 3 | Pooled analysis of published datasets |  | Meta-analysis | REF10 | Semenenko VA, Li XA | Lyman–Kutcher–Burman NTCP model parameters for radiation pneumonitis and xerostomia based on combined analysis of published clinical data | Phys Med Biol | https://doi.org/10.1088/0031-9155/53/3/014 | Verified; alternative/partial-overlap parameter set | The endpoint differs from subjective xerostomia or one-year flow. ¦ Decision: conditional substitute
C05 | LKB | 2015–Present ¦ 2021 | Bilateral parotids | Increase ≥2 in xerostomia bother score at 1 month |  | According to the paper | 1.00 | 0.55 | 28.4 | Gy EQD2 | 3 | WBRT; 55 patients | 55 | Primary OA study; LKB | REF29 | Mavroidis P, Pearlstein KA, Moon DH, et al | NTCP modeling and dose–volume correlations for acute xerostomia and dry eye after whole brain radiation | Radiat Oncol | https://doi.org/10.1186/s13014-021-01786-6 | Verified; alternative/partial-overlap parameter set | Same cohort C04; endpoint definition is different. ¦ Decision: new endpoint conditional ¦ α/β status: explicit; convert to EQD2 with α/β=3
C04 | LKB | 2015–Present ¦ 2021 | Bilateral parotids | Increase ≥20 points in xerostomia score at 1 month |  | According to the paper | 1.00 | 0.84 | 22.3 | Gy EQD2 | 3 | WBRT; 55 patients | 55 | Primary OA study; LKB | REF29 | Mavroidis P, Pearlstein KA, Moon DH, et al | NTCP modeling and dose–volume correlations for acute xerostomia and dry eye after whole brain radiation | Radiat Oncol | https://doi.org/10.1186/s13014-021-01786-6 | Verified; alternative/partial-overlap parameter set | Acute patient-reported endpoint after WBRT; not identical to 6-month stimulated salivary reduction in the original sheet. ¦ Decision: not a direct substitute ¦ α/β status: explicit; convert to EQD2 with α/β=3
P17 | LKB | 2000–2015 ¦ 2013 | Breast | Moderate-to-severe fibrosis |  | According to the paper | 0.012 | 0.35 | 132 | Gy BEUD3 (≈81.8 Gy EQD2 as reported) | 3 | 5856 patients from two RCTs; whole breast ± boost | 5856 | Pooled RCT study | REF19 | Mukesh MB, Harris E, Collette S, et al | NTCP parameters for breast fibrosis: pooled results from two randomised trials | Radiother Oncol | https://doi.org/10.1016/j.radonc.2013.07.006 | Verified; unique parameter set in current bank | TD50 is not physical; only if BioSuite actually produces BEUD3/EQD2-compatible values. ¦ Decision: new organ/endpoint
C15 | LKB | 2015–present ¦ 2020 | Skin | Acute dermatitis, Grade 3 | Grade 3 | According to the paper | 0.62 | 0.24 | 9.5 | Gy; dose-surface histogram | Not reported | Thoracic IMRT or PSPT; 166 patients | 166 | Primary study OA; LKB rewritten for DSH | REF26 | Palma G, Monti S, Conson M, et al | NTCP Models for Severe Radiation Induced Dermatitis After IMRT or Proton Therapy for Thoracic Cancer Patients | Front Oncol | https://doi.org/10.3389/fonc.2020.00344 | Verified; distinct endpoint (not a direct replacement) | BioSuite does not reproduce the four-input configuration with volumetric DVH, dose-surface histogram and BSA. ¦ Decision: register as witness; direct entry prohibited ¦ α/β status: 2 Gy/fx; BSA-normalized DSH model
B24 | LKB | Historical (1991) ¦ 1991 | Skin (Skin) | Necrosis/Ulceration |  | 100 cm² | 0.1 | 0.12 | 70 | Physical Gy; according to Burman table | Not reported | Historical tolerance data / Burman table |  | Historical LKB fit | REF01 | Burman C, Kutcher GJ, Emami B, Goitein M | Fitting of normal tissue tolerance data to an analytic function | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/0360-3016(91)90172-Z | Verified; distinct endpoint (not a direct replacement) | Historical parameter; to replace with new studies, endpoint and dose reference must be matched.
Q04 | LKB | Historical (1995) ¦ 1995 | Liver | RILD |  | Whole organ | 0.26 | 0.4 | 50 | Physical Gy; according to Cheng | Not reported | Older alternative estimate |  | Parallel model | REF02 | Cheng et al., Int J Radiat Oncol Biol Phys | 2004 ;31:883–891. |  | 10.1016/j.ijrobp.2004.05.048 | Verified; alternative/partial-overlap parameter set | Not classic LKB; retained in the input file for tracking purposes.
Q02 | LKB | 2000–2015 ¦ 2002 | Liver | RILD |  | Whole organ | 0.97 | 0.12 | 45.8 | Gy (physical); according to Dawson | Not reported | Liver metastasis; 3D-CRT |  | Primary study; modified LKB | REF03 | Dawson LA, Normolle D, Balter JM, et al | Analysis of radiation-induced liver disease using the Lyman NTCP model | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/S0360-3016(02)02846-8 | Verified; alternative/partial-overlap parameter set | Varies with RILD in primary disease or by Child–Pugh.
Q03 | LKB | 2000–2015 ¦ 2002 | Liver | RILD |  | Whole organ | 0.97 | 0.12 | 39.8 | Gy (physical); according to Dawson | Not reported | Primary hepatic/biliary malignancy; 3D-CRT |  | Primary study; modified LKB | REF03 | Dawson LA, Normolle D, Balter JM, et al | Analysis of radiation-induced liver disease using the Lyman NTCP model | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/S0360-3016(02)02846-8 | Verified; alternative/partial-overlap parameter set | Varies with RILD in metastasis or by Child–Pugh.
C16 | LKB | 2015–Present ¦ 2021 | Liver | Transaminase elevation G1–2 | G1–2 | According to the paper | 0.32 | 0.61 | 39.6 | Gy (physical); 2 Gy/fx | Not reported | RT for gastric marginal zone lymphoma (MZL); 18 patients | 18 | Primary study OA; small cohort | REF31 | Reinartz G, Baehr A, Kittel C, et al | Biophysical Analysis of Acute and Late Toxicity in Gastric Marginal Zone Lymphoma | Cancers | https://doi.org/10.3390/cancers13061390 | Verified; distinct endpoint (not a direct replacement) | This model is not RILD; should not replace Dawson/QUANTEC for RILD. ¦ Decision: new endpoint, experimental ¦ α/β status: fit 2 Gy/fx; α/β not reported
B16 | LKB | Historical (1991) ¦ 1991 | Liver (Liver) | Liver failure |  | Whole organ | 0.32 | 0.15 | 40 | Physical Gy; according to Burman table | Not reported | Historical tolerance data / Burman table |  | Historical LKB fit | REF01 | Burman C, Kutcher GJ, Emami B, Goitein M | Fitting of normal tissue tolerance data to an analytic function | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/0360-3016(91)90172-Z | Verified; alternative/partial-overlap parameter set | Historical parameter; to replace with new studies, endpoint and dose reference must be matched.
P19 | LKB | 2000–2015 ¦ 2006 | Liver; Child–Pugh A | RILD in primary liver carcinoma |  | According to the paper | 1.1 | 0.28 | 40.5 | Gy (physical) | Not reported | 93 patients CP-A; hypofractionated 3D-CRT | 93 | Primary study | REF07 | Xu ZY, Liang SX, Zhu J, et al | Prediction of radiation-induced liver disease by Lyman NTCP model in 3D-CRT for primary liver carcinoma | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/j.ijrobp.2005.11.034 | Verified; alternative/partial-overlap parameter set | For PLC/CP-A; not a replacement for Dawson/QUANTEC for other livers. ¦ Decision: disease-specific update
P20 | LKB | 2000–2015 ¦ 2006 | Liver; Child–Pugh B | RILD in primary liver carcinoma |  | According to the paper | 0.7 | 0.43 | 23 | Gy (physical) | Not reported | 16 patients CP-B; hypofractionated 3D-CRT | 16 | Primary study | REF07 | Xu ZY, Liang SX, Zhu J, et al | Prediction of radiation-induced liver disease by Lyman NTCP model in 3D-CRT for primary liver carcinoma | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/j.ijrobp.2005.11.034 | Verified; alternative/partial-overlap parameter set | Only 16 CP-B patients; high clinical uncertainty and use outside the cohort not permitted. ¦ Decision: disease-specific update
B12 | LKB | Historical (1991) ¦ 1991 | Kidney (Kidney) | Clinical nephritis |  | Whole organ | 0.7 | 0.1 | 28 | Physical Gy; according to Burman table | Not reported | Historical tolerance data / Burman table |  | Historical LKB fit | REF01 | Burman C, Kutcher GJ, Emami B, Goitein M | Fitting of normal tissue tolerance data to an analytic function | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/0360-3016(91)90172-Z | Verified; unique parameter set in current bank | Historical parameter; to replace with new studies, endpoint and dose reference must be matched.
B06 | LKB | Historical (1991) ¦ 1991 | Colon (Colon) | Obstruction/Perforation/Ulcer/Fistula |  | Whole organ | 0.17 | 0.11 | 55 | Physical Gy; according to Burman table | Not reported | Historical tolerance data / Burman table |  | Historical LKB fit | REF01 | Burman C, Kutcher GJ, Emami B, Goitein M | Fitting of normal tissue tolerance data to an analytic function | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/0360-3016(91)90172-Z | Verified; unique parameter set in current bank | Historical parameter; to replace with new studies, endpoint and dose reference must be matched.
B19 | LKB | Historical (1991) ¦ 1991 | Optic chiasm (Optic chiasma) | Blindness |  | Whole organ | 0.25 | 0.14 | 65 | Physical Gy; according to Burman table | Not reported | Historical tolerance data / Burman table |  | Historical LKB fit | REF01 | Burman C, Kutcher GJ, Emami B, Goitein M | Fitting of normal tissue tolerance data to an analytic function | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/0360-3016(91)90172-Z | Verified; unique parameter set in current bank | Historical parameter; to replace with new studies, endpoint and dose reference must be matched.
B07 | LKB | Historical (1991) ¦ 1991 | Middle/External ear (Ear) | Acute serous otitis |  | Whole organ | 0.01 | 0.15 | 40 | Physical Gy; according to Burman table | Not reported | Historical tolerance data / Burman table |  | Historical LKB fit | REF01 | Burman C, Kutcher GJ, Emami B, Goitein M | Fitting of normal tissue tolerance data to an analytic function | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/0360-3016(91)90172-Z | Verified; distinct endpoint (not a direct replacement) | Historical parameter; to replace with new studies, endpoint and dose reference must be matched.
B08 | LKB | Historical (1991) ¦ 1991 | Middle/External ear (Ear) | Chronic serous otitis |  | Whole organ | 0.01 | 0.095 | 65 | Physical Gy; according to Burman table | Not reported | Historical tolerance data / Burman table |  | Historical LKB fit | REF01 | Burman C, Kutcher GJ, Emami B, Goitein M | Fitting of normal tissue tolerance data to an analytic function | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/0360-3016(91)90172-Z | Verified; distinct endpoint (not a direct replacement) | Historical parameter; to replace with new studies, endpoint and dose reference must be matched.
NTCP-ADD-R01 | LKB | 2008 | Rectum | Proctitis (moderate/severe) | Late; clinician-scored | Whole rectum / LKB TD50(1) | 0.1 | 0.15 | 67.5 | Gy; conventional fractionation |  | MRC RT01; 178 patients; conformal prostate RT | 178 | Primary clinical LKB fit | SCH-GULL-2008 | Gulliford et al. | Normal Tissue Complication Probability: Updating the Model Parameters for Modern Radiotherapy | Medical Physics | https://doi.org/10.1118/1.2962691 | Unverified - citation likely invalid, values plausible but unconfirmed (see notes) | Independent endpoint-specific fit; do not pool with rectal bleeding. ¦ 2026 audit flag: the cited DOI 10.1118/1.2962691 and title 'Normal Tissue Complication Probability: Updating the Model Parameters for Modern Radiotherapy' could not be located in PubMed/ScienceDirect/Oxford ORA/Google Scholar and its existence could not be confirmed. The n/m/TD50 values here are plausible as Grade 1&2-combined LKB fits from the same RT01 388-patient cohort published in Gulliford et al., Radiother Oncol 2012;102(3):347-351 (DOI 10.1016/j.radonc.2011.10.022) - the same real paper already correctly cited under REF18/P13 for the Grade-2-only bleeding fit - but the exact 4 numeric triples could NOT be independently verified against that paper's Table 2 within this audit. Recommend the user directly check Table 2 of the 2012 paper before relying on these 4 rows.
NTCP-ADD-R02 | LKB | 2008 | Rectum | Rectal bleeding (moderate/severe) | Late; clinician-scored | Whole rectum / LKB TD50(1) | 0.28 | 0.25 | 67.75 | Gy; conventional fractionation |  | MRC RT01; 178 patients; conformal prostate RT | 178 | Primary clinical LKB fit | SCH-GULL-2008 | Gulliford et al. | Normal Tissue Complication Probability: Updating the Model Parameters for Modern Radiotherapy | Medical Physics | https://doi.org/10.1118/1.2962691 | Unverified - citation likely invalid, values plausible but unconfirmed (see notes) | Distinct from proctitis and urgency. ¦ 2026 audit flag: the cited DOI 10.1118/1.2962691 and title 'Normal Tissue Complication Probability: Updating the Model Parameters for Modern Radiotherapy' could not be located in PubMed/ScienceDirect/Oxford ORA/Google Scholar and its existence could not be confirmed. The n/m/TD50 values here are plausible as Grade 1&2-combined LKB fits from the same RT01 388-patient cohort published in Gulliford et al., Radiother Oncol 2012;102(3):347-351 (DOI 10.1016/j.radonc.2011.10.022) - the same real paper already correctly cited under REF18/P13 for the Grade-2-only bleeding fit - but the exact 4 numeric triples could NOT be independently verified against that paper's Table 2 within this audit. Recommend the user directly check Table 2 of the 2012 paper before relying on these 4 rows.
NTCP-ADD-R03 | LKB | 2008 | Rectum | Loose stools (moderate/severe) | Late; patient-reported | Whole rectum / LKB TD50(1) | 1 | 0.38 | 73.5 | Gy; conventional fractionation |  | MRC RT01; 178 patients; conformal prostate RT | 178 | Primary clinical LKB fit | SCH-GULL-2008 | Gulliford et al. | Normal Tissue Complication Probability: Updating the Model Parameters for Modern Radiotherapy | Medical Physics | https://doi.org/10.1118/1.2962691 | Unverified - citation likely invalid, values plausible but unconfirmed (see notes) | n=1 is at the boundary; CI extends outside feasible range. ¦ 2026 audit flag: the cited DOI 10.1118/1.2962691 and title 'Normal Tissue Complication Probability: Updating the Model Parameters for Modern Radiotherapy' could not be located in PubMed/ScienceDirect/Oxford ORA/Google Scholar and its existence could not be confirmed. The n/m/TD50 values here are plausible as Grade 1&2-combined LKB fits from the same RT01 388-patient cohort published in Gulliford et al., Radiother Oncol 2012;102(3):347-351 (DOI 10.1016/j.radonc.2011.10.022) - the same real paper already correctly cited under REF18/P13 for the Grade-2-only bleeding fit - but the exact 4 numeric triples could NOT be independently verified against that paper's Table 2 within this audit. Recommend the user directly check Table 2 of the 2012 paper before relying on these 4 rows.
NTCP-ADD-R04 | LKB | 2008 | Rectum | Rectal urgency (moderate/severe) | Late; patient-reported | Whole rectum / LKB TD50(1) | 0.3 | 0.3 | 67 | Gy; conventional fractionation |  | MRC RT01; 178 patients; conformal prostate RT | 178 | Primary clinical LKB fit | SCH-GULL-2008 | Gulliford et al. | Normal Tissue Complication Probability: Updating the Model Parameters for Modern Radiotherapy | Medical Physics | https://doi.org/10.1118/1.2962691 | Unverified - citation likely invalid, values plausible but unconfirmed (see notes) | Endpoint-specific; do not substitute for bleeding. ¦ 2026 audit flag: the cited DOI 10.1118/1.2962691 and title 'Normal Tissue Complication Probability: Updating the Model Parameters for Modern Radiotherapy' could not be located in PubMed/ScienceDirect/Oxford ORA/Google Scholar and its existence could not be confirmed. The n/m/TD50 values here are plausible as Grade 1&2-combined LKB fits from the same RT01 388-patient cohort published in Gulliford et al., Radiother Oncol 2012;102(3):347-351 (DOI 10.1016/j.radonc.2011.10.022) - the same real paper already correctly cited under REF18/P13 for the Grade-2-only bleeding fit - but the exact 4 numeric triples could NOT be independently verified against that paper's Table 2 within this audit. Recommend the user directly check Table 2 of the 2012 paper before relying on these 4 rows.
NTCP-ADD-HN01 | LKB | 2021 | Brainstem | Necrosis | Late | Whole brainstem | 0.112 | 0.144 | 65 | Gy; source table reports 6500 cGy | 2.32 | Adult literature-derived values used in pediatric cranial modeling | Not applicable | Secondary literature compilation | SCH-DELL-2021 | Dell'Oro et al. | Normal tissue complication probability modeling to guide individual treatment planning in pediatric cranial proton and photon radiotherapy | Medical Physics | https://doi.org/10.1002/mp.15360 | Verified from source Table 2 | Literature-derived comparator; not a pediatric clinical fit.
NTCP-ADD-HN02 | LKB | 2021 | Lens | Cataract | Late | Whole lens | 0.27 | 0.3 | 18 | Gy; source table reports 1800 cGy | 2 | Adult literature-derived values used in pediatric cranial modeling | Not applicable | Secondary literature compilation | SCH-DELL-2021 | Dell'Oro et al. | Normal tissue complication probability modeling to guide individual treatment planning in pediatric cranial proton and photon radiotherapy | Medical Physics | https://doi.org/10.1002/mp.15360 | Verified from source Table 2 | Literature-derived comparator; not a pediatric clinical fit.
NTCP-ADD-HN03 | LKB | 2021 | Optic chiasm | Neuropathy | Late | Whole optic chiasm | 0.25 | 0.1367 | 52 | Gy; source table reports 5200 cGy | 2.85 | Adult literature-derived values used in pediatric cranial modeling | Not applicable | Secondary literature compilation | SCH-DELL-2021 | Dell'Oro et al. | Normal tissue complication probability modeling to guide individual treatment planning in pediatric cranial proton and photon radiotherapy | Medical Physics | https://doi.org/10.1002/mp.15360 | Verified from source Table 2 | Literature-derived comparator; endpoint differs from older blindness models.
NTCP-ADD-HN04 | LKB | 2021 | Cochlea | Tinnitus | Late | Whole cochlea | 1 | 0.35 | 46.52 | Gy; source table reports 4652 cGy | 3.25 | Adult literature-derived values used in pediatric cranial modeling | Not applicable | Secondary literature compilation | SCH-DELL-2021 | Dell'Oro et al. | Normal tissue complication probability modeling to guide individual treatment planning in pediatric cranial proton and photon radiotherapy | Medical Physics | https://doi.org/10.1002/mp.15360 | Verified from source Table 2 | Literature-derived comparator; pediatric study performed sensitivity analysis.
NTCP-ADD-HN05 | LKB | 2021 | Cochlea | Hearing loss | Late | Whole cochlea | 1 | 0.14 | 55.57 | Gy; source table reports 5557 cGy | 1.88 | Adult literature-derived values used in pediatric cranial modeling | Not applicable | Secondary literature compilation | SCH-DELL-2021 | Dell'Oro et al. | Normal tissue complication probability modeling to guide individual treatment planning in pediatric cranial proton and photon radiotherapy | Medical Physics | https://doi.org/10.1002/mp.15360 | Verified from source Table 2 | Literature-derived comparator; broad uncertainty range reported.
NTCP-ADD-HN06 | LKB | 2021 | Pituitary gland | Endocrine dysfunction | Late | Whole pituitary | 0.25 | 0.15 | 60.6 | Gy; source table reports 6060 cGy | 2.5 | Adult literature-derived values used in pediatric cranial modeling | Not applicable | Secondary literature compilation | SCH-DELL-2021 | Dell'Oro et al. | Normal tissue complication probability modeling to guide individual treatment planning in pediatric cranial proton and photon radiotherapy | Medical Physics | https://doi.org/10.1002/mp.15360 | Verified from source Table 2 | Literature-derived comparator; not a pediatric clinical fit.
NTCP-ADD-HN07 | LKB | 2020 | Hair Follicle | Alopecia/ Hair loss | Early/ G2 | According to the paper | 0.14 | 0.56 | 22 | Gy EQD2 | Not reported | - | Not applicable | Secondary literature compilation | - | Palma et al. | Normal tissue complication probability modeling to guide individual treatment planning in cranial proton radiotherapy | Radiother Oncol | DOI: 10.1016/j.radonc.2019.11.013 | - | -
NTCP-ADD-HN08 | LKB | 2020 | Hair Follicle | Alopecia/ Hair loss | Late/ G2 | According to the paper | 0.19 | 0.47 | 24 | Gy EQD2 | Not reported | - | Not applicable | Secondary literature compilation | - | Palma et al. | Normal tissue complication probability modeling to guide individual treatment planning in cranial proton radiotherapy | Radiother Oncol | DOI: 10.1016/j.radonc.2019.11.013 | - | -
NTCP-ADD-HN09 | LKB | 2020 | Hair Follicle | Alopecia/ Hair loss | Permanent/ G2 | According to the paper | 0.09 | 0.29 | 44 | Gy EQD2 | Not reported | - | Not applicable | Secondary literature compilation | - | Palma et al. | Normal tissue complication probability modeling to guide individual treatment planning in cranial proton radiotherapy | Radiother Oncol | DOI: 10.1016/j.radonc.2019.11.013 | - | -

## TCP_Parameter_Bank
Record ID | Tumour Site | Histology / Clinical Setting | Modality / Schedule | Model Family | Endpoint | Alpha Definition | Alpha (Gy^-1) | Alpha Status | Alpha Spread SD (Gy^-1) | Alpha/Beta (Gy) | Clonogen Density (cm^-3) | Total Clonogens (K) | Repopulation Parameter | Tpot / Characteristic Time (days) | Repopulation Rate (day^-1) | Delay Before Repopulation (days) | Repair Half-Time (min) | Repair Constant (min^-1) | Fraction-Duration / Repair Correction | Source ID | Authors | Title | Journal | DOI / Link | Verification / Applicability Notes
P001 | Lung | NSCLC; stage III inoperable; radiotherapy only comparison | Photon EBRT; 66 Gy/33 fractions/45 d | Poisson TCP + LQ + accelerated repopulation; population alpha spread | Local tumour cure/TCP | alpha (baseline) | 0.3 | Reported model input | 0.02 | 15 | 10000000 |  | Tpot | 5 | 0.13863 | 14 |  |  | No explicit intrafraction-duration correction reported | S04 | El Sharouni et al. | Tumour Control Probability of Stage III Inoperable Non-small Cell Lung Tumours after Sequential Chemo-radiotherapy |  |  | Density was adopted from a head-and-neck fit cited by the authors; do not treat as independently measured NSCLC density.
P002 | Lung | NSCLC; stage III after induction chemotherapy | Photon EBRT; 66 Gy/33 fractions/45 d | Poisson TCP + LQ + accelerated repopulation; population alpha spread | Local tumour cure/TCP | alpha (post-induction scenario) | 0.32 | Reported model scenario | 0.02 | 15 | 10000000 |  | Tpot | 5 | 0.13863 | 0 |  |  | No explicit intrafraction-duration correction reported | S04 | El Sharouni et al. | Tumour Control Probability of Stage III Inoperable Non-small Cell Lung Tumours after Sequential Chemo-radiotherapy |  |  | The authors assumed higher alpha after induction chemotherapy; use only for the stated sequential-therapy context.
P003 | Prostate | Intermediate-risk prostate cancer | EBRT/IMRT; example 81 Gy in 1.8 Gy fractions | Poisson TCP + generalized LQ with dose-protraction factor G, repair and proliferation | TCP/EUD modelling | alpha | 0.15 | Reported compiled-clinical input |  | 3.1 |  | 3000000 | Tpot | 42 | 0.016504 |  | 16 | 0.043322 | Yes: dose-protraction factor G for intrafraction repair | S03 | Wang et al. | Impact of prolonged fraction delivery times on tumor control: a note of caution for intensity-modulated radiation therapy (IMRT) |  | https://doi.org/10.1016/S0360-3016(03)00499-1 | K=3.0e6 is total clonogens for the selected intermediate-risk group, not a density; do not divide by volume without a source-defined volume.
P004 | Cervix | Cervical carcinoma; FIGO IB–IVA; 86% SCC | EBRT + low-dose-rate brachytherapy | LQ extended for repopulation; TCP = exp(-K*S) | Local control | alpha | 0.16 | Adopted from literature; not freely fitted |  | 14 |  | 139 | Td (effective clonogen doubling time) | 4.5 | 0.15403 | 19 |  |  | No incomplete-repair parameter fitted | S05 | Huang et al. | The Onset Time of Tumor Repopulation for Cervical Cancer – First Evidence from Clinical Data |  | https://doi.org/10.1016/j.ijrobp.2011.12.037 | Tk 19 d (uncertainty 11–22 d); K 139 (48–1822). K is a total model count and must not be converted to per cc without an explicit volume relation.
P005 | Prostate | Low/intermediate risk; initially hypoxic component; HDR monotherapy | HDR brachytherapy; 3 x 11 Gy/28 d vs 2 x 14 Gy/14 d | Zaider-Minerbo population TCP + time-dependent re-sensitization; normal alpha distributions | Biochemical/local control | alpha_0 (initial hypoxic component) | 0.12 | Fitted population mean | 0.02 | 4.5 |  |  | lambda (cell birth/repopulation rate) | 34.6574 | 0.02 |  |  |  | No: complete repair between fractions assumed | S06 | Stavrev et al. | The Impact of Different Timing Schedules on Prostate HDR-Mono-Brachytherapy. A TCP Modeling Investigation |  | https://doi.org/10.3390/cancers13194899 | Equation (6): mean alpha_0=0.12 Gy^-1 and sigma_alpha0=0.02 Gy^-1. The 4.5 Gy alpha/beta target was selected from the associated HDR cohort, with stated plausible range 3.5–6 Gy.
P006 | Prostate | Low/intermediate risk; maximum re-sensitized component; HDR monotherapy | HDR brachytherapy; 3 x 11 Gy/28 d vs 2 x 14 Gy/14 d | Zaider-Minerbo population TCP + time-dependent re-sensitization; normal alpha distributions | Biochemical/local control | alpha_m (asymptotic re-sensitized component) | 0.23 | Fitted population mean | 0.02 |  |  |  | lambda (cell birth/repopulation rate) | 34.6574 | 0.02 |  |  |  | No: complete repair between fractions assumed | S06 | Stavrev et al. | The Impact of Different Timing Schedules on Prostate HDR-Mono-Brachytherapy. A TCP Modeling Investigation |  | https://doi.org/10.3390/cancers13194899 | Equation (6): mean alpha_m=0.23 Gy^-1 and sigma_alpham=0.02 Gy^-1. Alpha/beta is time dependent, so no single transferable alpha/beta is reported for this row.
P007 | Bladder | Transitional-cell carcinoma; T1–T4 | EBRT and/or brachytherapy in underlying study | LQ + repair + repopulation; logistic TCP | Local control | alpha | 0.042 | Systematic-review extraction of underlying Pos 2006 analysis |  | 24 |  |  | Not reported in S01 table | [5 empty] | Repair included in model; individual mu not provided in review table | S01 | van Leeuwen et al. | The alfa and beta of tumours: a review of parameters of the linear-quadratic model, derived from clinical radiotherapy studies |  | https://doi.org/10.1186/s13014-018-1040-z | Companion analysis in same underlying study: alpha=0.045 Gy^-1, alpha/beta=13 Gy with basic LQ/logistic TCP. Keep analyses separate.
P008 | Breast | Early breast cancer; adenocarcinoma; TisN0–T2N1 | EBRT; underlying clinical analyses | LQ + repopulation; Poisson TCP | Local control | alpha | 0.05 | Systematic-review extraction of Qi 2011 analysis |  | 4.39 |  |  | Not reported in S01 table | [5 empty] | No specific fraction-duration repair correction shown in review table | S01 | van Leeuwen et al. | The alfa and beta of tumours: a review of parameters of the linear-quadratic model, derived from clinical radiotherapy studies |  | https://doi.org/10.1186/s13014-018-1040-z | Other Qi 2011 cohorts in Table S4 produced separate alpha/alpha-beta estimates; this row preserves the stage/endpoint-specific value.
P009 | Central nervous system | Glioma; stage IV cohort | Photon radiotherapy; underlying clinical analysis | LQ + repair + repopulation; Poisson TCP | Survival | alpha | 0.04 | Systematic-review extraction of Qi 2006 analysis |  | 5.6 |  |  | Not reported in S01 table | [5 empty] | Repair included; no mu in review table | S01 | van Leeuwen et al. | The alfa and beta of tumours: a review of parameters of the linear-quadratic model, derived from clinical radiotherapy studies |  | https://doi.org/10.1186/s13014-018-1040-z | Other glioma analyses in the same paper had alpha=0.06, alpha/beta=10 and alpha=0.11, alpha/beta=5.8 for different cohorts/outcomes.
P010 | Liver | Hepatocellular carcinoma + cholangiocarcinoma; T3–T4 | Photon radiotherapy; underlying clinical analysis | LQ + repair + repopulation; Poisson TCP | Survival | alpha | 0.037 | Systematic-review extraction of Tai 2008 analysis |  | 13.4 |  |  | Not reported in S01 table | [5 empty] | Repair included; no mu in review table | S01 | van Leeuwen et al. | The alfa and beta of tumours: a review of parameters of the linear-quadratic model, derived from clinical radiotherapy studies |  | https://doi.org/10.1186/s13014-018-1040-z | Mixed hepatocellular carcinoma/cholangiocarcinoma; do not apply to one histology without validation.
P011 | Oesophagus | Adenocarcinoma + squamous-cell carcinoma; mixed histology | Chemoradiotherapy trial synthesis; underlying analysis | LQ + repair + repopulation; logistic TCP | Pathological complete response | alpha | 0.04 | Systematic-review extraction of Geh 2006 analysis |  | 4.9 |  |  | Not reported in S01 table | [5 empty] | Repair included; no mu in review table | S01 | van Leeuwen et al. | The alfa and beta of tumours: a review of parameters of the linear-quadratic model, derived from clinical radiotherapy studies |  | https://doi.org/10.1186/s13014-018-1040-z | Mixed histology; systematic review explicitly cautions that site and histology both affect alpha/beta.
P012 | Rectum | Adenocarcinoma; T1N0M0–T4N1M0 | Preoperative radiotherapy; underlying clinical analysis | LQ + repopulation; Poisson TCP | Locoregional control | alpha | 0.335 | Systematic-review extraction of Suwinski 2007 time-factor analysis |  | 11.1 |  |  | Not reported in S01 table | [5 empty] | No individual mu in review table | S01 | van Leeuwen et al. | The alfa and beta of tumours: a review of parameters of the linear-quadratic model, derived from clinical radiotherapy studies |  | https://doi.org/10.1186/s13014-018-1040-z | Same data with no time factor gave alpha/beta 5.1 Gy in the primary article discussion; S01 Table S4 reports a basic-Poisson analysis alpha=0.339 and alpha/beta=2.66.
P013 | Lung | Non-small-cell lung carcinoma; early T1–T2 cohorts | SBRT/clinical outcomes; underlying pooled analysis | LQ basic; logistic TCP | Local control | alpha |  | Not reported |  | 3.9 |  |  | Not reported | [5 empty] | No repair correction in basic LQ | S01 | van Leeuwen et al. | The alfa and beta of tumours: a review of parameters of the linear-quadratic model, derived from clinical radiotherapy studies |  | https://doi.org/10.1186/s13014-018-1040-z | Use only as alpha/beta evidence; no alpha, density, repopulation or mu value was supplied in the review table.
P014 | Prostate | Localized adenocarcinoma; external-beam radiotherapy | EBRT; 5,969 patients in seven international datasets | LQ basic; Poisson TCP | Biochemical no evidence of disease | alpha | 0.019 | Systematic-review extraction of Miralbell 2012 subgroup analysis |  | 1.4 |  |  | Not reported | [5 empty] | No repair correction in basic LQ | S01 | van Leeuwen et al. | The alfa and beta of tumours: a review of parameters of the linear-quadratic model, derived from clinical radiotherapy studies |  | https://doi.org/10.1186/s13014-018-1040-z | S01 Table S4 reports multiple subgroup analyses: alpha 0.01–0.098 Gy^-1 and alpha/beta 0.6–4 Gy, depending on cohort and whether repopulation is modelled.
TCP-ADD-L01 | Lung | Stage I NSCLC, T1-2N0M0 | 3DCRT/SBRT clinical outcome datasets | Poisson-LQ TCP with delayed repopulation | Local control | alpha | 0.066 | Maximum-likelihood delayed-onset fit |  | 21.1 |  | 6.3 | gamma = 1.85 Gy/day; Tk = 32.2 d |  | 1.85 | 32.2 |  |  | Model comparison favored delayed onset; fitted to published clinical local-control data | SCH-SEM-2007 | Semenenko, Gore & Li | Estimation of Tumor Control Probability Model Parameters for Early Stage Non-Small-Cell Lung Cancer (NSCLC) | Medical Physics | https://doi.org/10.1118/1.2761566 | Verified from Scholar Gateway abstract; specific to early-stage NSCLC and delayed-repopulation model.
TCP-ADD-L02 | Lung | Stage III inoperable NSCLC | Photon EBRT; CHART/Martel/Clatterbridge datasets | Marsden quasi-mechanistic population TCP | Local control | alpha | 0.307 | Best-fit | 0.037 | 10 | 10000000 |  | Tk = 20.9 d; Td = 3.7 d | 3.7 |  | 20.9 |  |  | LQ + population alpha spread; rho_clon fixed at 10^7 cm^-3 | SCH-NAHUM-2011 | Nahum et al. | Quantitative Tumour Control Predictions for the Radiotherapy of Non-Small-Cell Lung Tumours | Medical Physics | https://doi.org/10.1118/1.3612620 | Verified from Scholar Gateway abstract; conference abstract, lower evidence than a full original article.
TCP-ADD-BR01 | Central nervous system | Malignant glioma / astrocytoma | Photon RT; published clinical outcome series | LQ + repopulation/repair + Poisson TCP | Tumour control / survival | alpha | 0.06 | Clinical fit | 0.05 | 10 |  |  | Td = 50 d; repair half-time = 0.5 h | 50 |  |  | 30 |  | Repair included; exact repair formalism is source-specific | SCH-QI-2005 | Qi, Schultz & Li | An Estimation of Radiobiological Parameters From Clinical Outcomes for Radiation Treatment Planning of Brain Tumor | Medical Physics | https://doi.org/10.1118/1.1998098 | Corrected 2026 audit: file previously listed alpha=0.08 and alpha/beta=11.4 Gy, which did not match the paper's published headline result. Verified overall published values (PubMed/ScienceDirect/RedJournal, all consistent): alpha = 0.06 +/- 0.05 Gy^-1, alpha/beta = 10.0 +/- 15.1 Gy, Td = 50 +/- 30 days, repair half-time = 0.5 h (matches the file's Td and repair half-time, which were already correct). The paper separately reports that Grade III and Grade IV astrocytomas had different LQ parameters, but the specific grade-level alpha/alpha-beta values could not be independently confirmed from the abstract/secondary sources within this audit (full text paywalled) - treat the previously-listed grade-specific figures (III: 0.18/6.0, IV: 0.09/9.0) as unverified.
TCP-ADD-P01 | Prostate | Localized prostate cancer | EBRT / clinical outcome literature | Basic LQ / clinical alpha-beta evidence | Biochemical control | alpha/beta |  | Review-derived estimate |  | 1.49 |  |  | Repair half-time discussed in source review | [5 empty] | Review summarizes 1.49 Gy (95% CI 1.25–1.76) from Fowler et al. and 1.44 Gy from Chappell et al.; not a complete TCP parameterization. | SCH-OLIVEIRA-2012 | Oliveira, Teixeira & Fernandes | What do we know about the α/β for prostate cancer? | Medical Physics | https://doi.org/10.1118/1.4712224 | Verified review evidence; alpha/beta evidence only, not a complete TCP parameter set.
TCP-ADD-P02 | Prostate | Localized prostate cancer; all risk groups; +/- androgen deprivation; multi-institutional | EBRT; standard fractionation (1.8-2.0 Gy/fx, 40%) and hypofractionation (2.5-6.7 Gy/fx) pooled | Direct fractionation-sensitivity analysis (isoeffect comparison across schedules); large pooled clinical dataset | Biochemical control | alpha/beta |  | Not reported (alpha/beta derived directly from isoeffect comparison, not decomposed into alpha, beta) |  | 1.4 | [9 empty] | SCH-MIRALBELL-2012 | Miralbell R, Roberts SA, Zubizarreta E, Hendry JH | Dose-Fractionation Sensitivity of Prostate Cancer Deduced From Radiotherapy Outcomes of 5,969 Patients in Seven International Institutional Datasets: alpha/beta = 1.4 (0.9-2.2) Gy | Int J Radiat Oncol Biol Phys | https://doi.org/10.1016/j.ijrobp.2010.10.075 | Added 2026 audit (literature-search phase). Independently verified alpha/beta = 1.4 Gy (95% CI 0.9-2.2) directly against PubMed/ScienceDirect abstract; one of the largest and most-cited direct clinical estimates of prostate alpha/beta (5,969 patients, 7 institutions, standard + hypofractionated arms compared). Distinct from, and a primary-study complement to, the review-level estimates already in this bank under SCH-OLIVEIRA-2012 (which cites Fowler 1.49 Gy and Chappell 1.44 Gy). Decision: new primary-study TCP entry.

## README
Radiobiological TCP/NTCP Parameter Bank — Version | 2026-08-28
Purpose | A clean, source-traceable research bank of published radiobiological parameter sets for NTCP and TCP modelling. Each row represents an independent parameter set or an explicitly literature-derived model input.
Row structure | The same organ can appear many times. Different endpoints, grades, timing windows, structures, modalities, dose references, cohorts, or model families are intentionally kept as separate rows.
NTCP parameter bank | Contains the supplied LKB parameter bank in standardized columns plus additional source-verified parameter sets identified during the literature audit.
TCP parameter bank | Contains the supplied TCP parameter bank in standardized columns plus additional source-verified TCP/LQ parameter evidence identified during the audit.
No averaging | Do not average or merge published parameter sets simply because they refer to the same organ. A parameter set is meaningful only together with its endpoint, cohort, dose reference and model implementation.
Dose reference | Physical Gy, EQD2, Gy(RBE), cGy, EUD-based quantities and other transformed doses are not interchangeable. When EQD2 is used, the alpha/beta value used for conversion must match the source.
Model compatibility | Classical LKB, generalized Lyman, mixture-Lyman, time-to-event, relative seriality, logistic, Niemierko/EUD and other model families are not interchangeable. Parameters from one family must not be silently entered into another.
TCP compatibility | A published alpha/beta or alpha value alone is not necessarily a complete TCP model. Clonogen number/density, repopulation, repair, heterogeneity and model-specific parameters are retained separately when reported.
Verification status | Verified means the value was traceable to the supplied workbook source mapping or directly to a retrieved scholarly passage. Alternative/partial-overlap records are not replacements unless the clinical and mathematical conditions match.
Search scope | The literature search emphasized peer-reviewed publications and major reviews, with particular attention to alternative parameter sets and endpoint-specific models. The bank is a curated database and should not be interpreted as proof that every parameter ever published has been captured.
Key methodological references | Dennstädt et al. 2023: systematic review of Lyman-model parameters; Tajiki et al. 2023: head-and-neck NTCP review; AAPM TG-267 2024: biophysical model and parameter context.
Clinical use | These parameters are intended for research, sensitivity analysis, model comparison and radiobiological plan evaluation. Clinical use requires validation for the exact population, treatment technique, dose calculation algorithm and endpoint definition.
Source files | Base workbook: TCP_NTCP_Unified_English_Parameters_UPDATED.xlsx. Additional records were added only when a source passage provided sufficiently explicit parameter information.
2026-08-31 Audit — Version | 2026-08-31 (this pass)
Audit method | Row-by-row re-verification against original source papers, grouped by shared Source ID to avoid redundant lookups. ~35 of 44 distinct sources independently re-checked against primary literature (PubMed/journal sites/PMC); numeric values (n, m, TD50, alpha, alpha/beta) confirmed correct for every fully re-checked source except one. Remaining single-row sources not individually re-verified in this pass carried no numeric discrepancy in any spot-check performed.
Fix 1 — DOI error (28 rows) | All Burman/Kutcher/Emami/Goitein 1991 rows (Record IDs B01-B29, except B04 which was already correct) carried an incorrect DOI (.../0360-3016(91)90206-Z, which resolves to an unrelated Goitein paper). Corrected to the true DOI 10.1016/0360-3016(91)90172-Z (confirmed via PubMed PMID 2032883 and OSTI 5639151). The underlying n/m/TD50 values in all 29 rows were checked individually against the original Table 1 and confirmed numerically correct.
Fix 2 — wrong companion paper cited (3 rows) | Rows P10/P09/P11 (anorectal-wall stool frequency/bleeding, anal-wall incontinence) cited 'Localized volume effects for late rectal and anal toxicity...' (IJROBP 2006;64:1151-1161), which reports dose-volume threshold correlates, not LKB fits. The actual source of the n/m/TD50 triples (confirmed correct, e.g. bleeding TD50=81 Gy, m=0.14, n=0.13, cross-checked via an independent RTOG 94-06 paper quoting the same figures) is the companion paper from the same 468-patient cohort: Peeters et al., 'Rectal bleeding, fecal incontinence, and high stool frequency...', IJROBP 2006;66:11-19, DOI 10.1016/j.ijrobp.2006.03.034. Citation corrected; DOI field also no longer a bare PubMed search URL.
Flag 1 — unconfirmable citation (4 rows) | Rows NTCP-ADD-R01 to R04 cite 'Gulliford et al., Normal Tissue Complication Probability: Updating the Model Parameters for Modern Radiotherapy', DOI 10.1118/1.2962691. This title/DOI could not be located in PubMed, ScienceDirect, Oxford ORA, or Google Scholar. The 4 numeric triples are plausible as the Grade-1&2-combined LKB fits from the same 388-patient RT01 cohort published in Gulliford et al., Radiother Oncol 2012;102:347-351 (the paper already correctly used elsewhere in this bank for the Grade-2-only bleeding fit), but could not be matched to that paper's table within this audit. Flagged in the row-level notes and Verification Status column as unverified rather than silently corrected or deleted.
Fix 3 — numeric error (1 row) | TCP row TCP-ADD-BR01 (Qi, Schultz & Li 2006, malignant glioma) listed alpha=0.08 Gy^-1 and alpha/beta=11.4 Gy. The paper's confirmed published headline result (PubMed/ScienceDirect/RedJournal, identical across all three) is alpha=0.06 +/- 0.05 Gy^-1, alpha/beta=10.0 +/- 15.1 Gy; Td and repair half-time were already correct. Values corrected; the row's previously-stated grade III/IV sub-values are flagged as unverified (full text paywalled).
Addition — new TCP row | TCP-ADD-P02: prostate cancer alpha/beta = 1.4 Gy (95% CI 0.9-2.2), from Miralbell, Roberts, Zubizarreta & Hendry, IJROBP 2012;82:e17-e24 (DOI 10.1016/j.ijrobp.2010.10.075) - one of the largest and most-cited direct clinical alpha/beta estimates for prostate cancer (5,969 patients, 7 institutions), independently verified. Complements, and is distinct from, the review-level prostate alpha/beta entry already in the bank (SCH-OLIVEIRA-2012).
Additions search — other candidates considered but NOT added | A broad search for missing organ-toxicity / tumour-response endpoints was also performed. Several clinically important but genuinely absent endpoints were found (submandibular gland xerostomia, penile-bulb erectile dysfunction, SBRT chest-wall pain/rib fracture, dysphagia/aspiration-related swallowing structures, head-and-neck SCC clonogen data). None were added because the published literature for these endpoints uses logistic-regression, threshold-dose, or in-vitro cell-survival parameterisations rather than the three-parameter LKB (n/m/TD50) or clinical-outcome alpha/alpha-beta format used throughout this bank; force-fitting them risked misrepresenting the source methodology. These are flagged here as candidates for a future expansion in their native model format, on request.
Not independently re-verified this pass | Approximately a dozen single-row NTCP sources (e.g. REF02 Cheng liver, REF08 Cheung bladder, REF13 Dijkema parotid, REF17 Bazan PBM, REF20 Cella heart valvular, REF33 Wang cervical PBM, REF05/REF27 esophagitis, SCH-NAHUM-2011, SCH-SEM-2007, SCH-STAVREV, S04/S05) were not individually re-traced to their primary-source tables in this pass, given time constraints on an already very large audit; no error was found or suspected in any of them, and every other source that WAS checked in this family of papers (Semenenko, Mavroidis, Reinartz, Pedersen, Ong, Mukesh, Zhou, Holyoake, Pos, Miralbell) matched the literature exactly.